Tube OD 1: 2.0"
Tube OD 2: 1-1/2"
Reducer Type: Conical Reducer
Material: 304 Stainless Steel
Length: 2.375"
Wall Thickness: 0.065"
Finish: Bead Blast
Vacuum Range: 1 X 10-13 mbar to 1 bar
Temperature Range: -200 °C to 450 °C
Weight: 0.240 lbs