Flange Size: DN 25 ISO-KF
Adapter Type: Swagelok Adapter
Fitting: 1/2" Swagelok
Flange Material: 304 Stainless Steel
Fitting Material: 316 Stainless Steel
Length: 1.720"
Vacuum Range: 1 X 10-6 mbar to 1 bar
Temperature Range: -20 °C to 200 °C
Weight: 0.160 lbs