Flange Size: NW40
Type: Flexible Bellows Hose
Tube O.D: 1-1/2"
Length: 18.00"
Wall Thickness: 0.006"
Hose Material: 321 stainless
Flange & Cuff Material: 304 Stainless
Vacuum Range: FKM: 1 X 10-8 mbar to 1 bar
Metal seal: 1 X 10-10 mbar to 1 bar
Temperature Range: FKM: -20 °C to 180 °C
Metal seal: -270 °C to 150 °C
Weight: 1.500 lbs