Tube OD: 1-1/2"
Type: Flexible Bellows Hose
Length: 24.00"
Wall Thickness: 0.006"
Vacuum Range: 1 X 10-13 mbar to 1 bar
Temperature Range: -200 °C to 450 °C
Weight: 1.60 lbs