Tube: 1.00" O.D - 0.065" THK.
Type: Formed Bellows
Length: 3.500"
Wall Thickness: 0.005"
Cuff Material: 304 Stainless
Vacuum Range: 1 X 10-13 mbar to 1 bar
Temperature Range: -200 °C to 450 °C
Weight: 0.150 lbs