Product Type: Centering Ring
Fits Flange Size: DN 25 ISO KF
Weight: 0.100 lbs
Select Feature: without Spacer Ring
Seal Material: FKM Elastomer
Centering Ring Material: Aluminum