Flange Size: DN 25 ISO-KF
Type: Bored
Material: 304 Stainless
Bore: 0.312"
Thickness: 0.200"
Vacuum Range: FKM: 1 X 10-8 mbar to 1 bar
Weight: 0.080 lbs