Flange Size: DN 50 ISO-KF
Type: Bored
Material: 304 Stainless
Bore: 1.510"
Thickness: 0.200"
Weight: 0.250 lbs