Flange Size/OD: KF16 (1.18 in / 29.97 mm OD)
Type: Half Nipple, Clamp Style
Flange Material: 6061-T6 Aluminum
Nominal Tube OD: 0.75"
Bore: 0.620"
Overall Length: 1.58"