Product Type: Bulkhead Clamp
Fits Flange Size: DN 16 ISO-KF
Clamp Material: Aluminum, 18-8 Stainless Bolts
Weight: 0.200 lbs
Select Feature: #10-32 UNF thread