Product Type: Bulkhead Clamp

Fits Flange Size: DN 40 ISO-KF

Clamp Material: 304 Stainless

Weight: 0.200 lbs

Select Feature: #10-32 X 5/8 LG.