Flange Size: DN 16 ISO-KF
Elbow Type: Radius 90 Degree
Material: 304 Stainless
Tube OD: 3/4"
Port Length: 1.630"
Vacuum Range: FKM: 1 · 10-8 mbar to 1 bar
Metal seal: 1 · 10-10 mbar to 1 bar
Temperature Range: FKM: -20 °C to 180 °C
Metal seal: -270 °C to 150 °C
Weight: 0.160 lbs