Flange Size: 3/4" ID Hose
Type: PVC Flexible Hose
ID: 3/4"
Bend Radius: 3"
Hose Material: PVC
Vacuum Range: 1 X 10-2 mbar to 1 bar
Temperature Range: -4 °C to 65 °C
Weight: 0 lbs