Flange Size: 1" ID Hose
Type: PVC Flexible Hose
ID: 1.000"
Bend Radius: 4"
Hose Material: PVC
Vacuum Range: 1 X 10-2 mbar to 1 bar
Temperature Range: -4 °C to 65 °C