Flange Size: DN 25 ISO-KF
Adapter Type: Pipe Thread Adapter
Fitting: 1/2" Male NPT
Material: 304 Stainless Steel
Length: 1.670"
Vacuum Range: 1 X 10-6 mbar to 1 bar
Temperature Range: -20 °C to 150 °C
Weight: 0.240 lbs