Flange Size: DN 16 ISO-KF
Adapter Type: Quick Connect Adapter
Fitting: 3/8" QD Fitting
Flange Material: 304 Stainless
Fitting Material: 316L stainless
Length: 1.425"
Vacuum Range: 1 X 10-8 mbar to 1 bar
Temperature Range: -20 °C to 150 °C
Weight: 0.130 lbs