Flange Size: DN 16 ISO-KF
Type: PVC Hose Nipple
Tube size: 1/2" I.D
Material: 304 Stainless Steel
Overall length: 1.250"
Vacuum Range: 1 X 10-2 mbar to 1 bar
Temperature Range: -4 °C to 65 °C
Weight: 0.060 lbs