Flange Size: DN 40 ISO-KF
Type: PVC Hose Nipple
Hose size: 1.5" I.D hose
Overall length: 1.810"
Vacuum Range: 1 X 10-2 mbar to 1 bar
Temperature Range: -4 °C to 65 °C
Weight: 0.270 lbs